## Sheet1
Calibration Report
Lab Name: | Default Laboratory
Instrument: | Thermo Scientific Instrument |  |  |  | Method: | 20210506_SOKOL_filtres_MC_quant_CM_ARO_QUANT
User: | a_rocher |  |  |  |  | CM_ARO_QUANT
Batch: | 20210506_SOKOL_filtres_MC_quant |  |  |  | Cali File: | 20210506_SOKOL_filtres.calx
Calibration Summary
|  |  |  | A0 | A1 | A2 | R^2
|  | Manually | Curve | y-Intercept | Slope |  | R^2
Compound |  | Integrated | Type | Mean RF |  |  | % RSD | Flag | ShadeFailure
Glc1P C13 |  |  | I | 17308944 |  |  | 81.41 |  | FALSE
GlcNAc-1P |  |  | Q | -3.273 | 0.1208 | 1.517e-05 | 0.9995 |  | FALSE
GlcNAc-1P C13 |  |  | I | 283625 |  |  | 52.38 |  | FALSE
GalN-1P C13 |  |  | I | 1920459 |  |  | 16.29 |  | FALSE
Gly3P |  | M | Q | 0.0445 | 0.003751 | 1.513e-07 | 0.9991 |  | FALSE
Gly3P C13 |  |  | I | 4621617 |  |  | 19.7 |  | FALSE
Glc1P |  |  | Q | 789600 | 14450 | -1.879 | 0.9979 |  | FALSE
Rib1P |  |  | Q | 60440 | 16960 | -3.06 | 0.9989 |  | FALSE
Rib1P C13 |  |  | I | 31090 |  |  | 87.49 |  | FALSE
Tre6P |  |  | Q | 247800 | 49130 | -15.59 | 0.9991 |  | FALSE
Tre6P C13 |  |  | I | 0 |  |  | 0 |  | FALSE
Suc |  |  | Q | 0.169 | 0.001093 | -7.091e-09 | 0.9997 |  | FALSE
Suc C13 |  |  | I | 6242757 |  |  | 11.72 |  | FALSE
CMP |  |  | Q | -0.4888 | 0.02241 | 5.624e-06 | 0.9998 |  | FALSE
CMP C13 |  |  | I | 909000 |  |  | 32.77 |  | FALSE
Mal |  |  | Q | 0.02098 | 0.0003868 | -1.032e-09 | 0.9999 |  | FALSE
Mal C13 |  |  | I | 25706783 |  |  | 12.07 |  | FALSE
Fru1P |  |  | Q | 0.05278 | 1081000 | 60850000000 | 16.2446 |  | FALSE
Fru1P C13 |  |  | I | 14487490 |  |  | 21.01 |  | FALSE
GlcN-6P |  |  | Q | -369000 | 14920 | -2.886 | 0.9999 |  | FALSE
GlcN-6P C13 |  |  | I | 1206 |  |  | 244.95 |  | FALSE
a-KG |  |  | Q | 0.1236 | 0.008895 | -1.011e-05 | 0.9055 | AR | FALSE
a-KG C13 |  |  | I | 12142690 |  |  | 5.35 |  | FALSE
Glc6P |  |  | Q | -0.005436 | 0.000227 | -6.624e-09 | 0.9999 |  | FALSE
Glc6P C13 |  |  | I | 51695089 |  |  | 5.69 |  | FALSE
GlcNAc-6P |  |  | Q | -0.2006 | 0.009821 | 5.832e-07 | 1 |  | FALSE
GlcNAc-6P C13 |  |  | I | 1339611 |  |  | 14.88 |  | FALSE
Fru6P |  |  | Q | -0.01424 | 0.000901 | -8.178e-09 | 0.9994 |  | FALSE
Fru6P C13 |  |  | I | 17111356 |  |  | 13.49 |  | FALSE
Fum |  |  | Q | 0.2122 | 0.003174 | -5.886e-08 | 0.9981 |  | FALSE
Fum C13 |  |  | I | 1289514 |  |  | 2.87 |  | FALSE
Man6P |  |  | Q | -0.01168 | 0.0007082 | -2.373e-08 | 0.9999 |  | FALSE
Man6P C13 |  |  | I | 21125475 |  |  | 8.45 |  | FALSE
cAMP |  |  | Q | -152300 | 22850 | -2.714 | 0.9991 |  | FALSE
cAMP C13 |  |  | I | 0 |  |  | 0 |  | FALSE
P5P |  |  | Q | -0.0433 | 0.002242 | -2.529e-08 | 0.9999 |  | FALSE
P5P C13 |  |  | I | 7295942 |  |  | 11.9 |  | FALSE
AMP |  |  | Q | -0.06819 | 0.003372 | 1.828e-07 | 0.9998 |  | FALSE
AMP C13 |  |  | I | 5983853 |  |  | 22.61 |  | FALSE
Sed7P |  |  | Q | 0.7791 | 15960000 | 898200000000 | 19.2476 |  | FALSE
Sed7P C13 |  |  | I | 15453193 |  |  | 12.14 |  | FALSE
ADP-Glc |  |  | Q | -171600 | 3647 | 0.4994 | 0.9958 |  | FALSE
ADP-Glc C13 |  |  | I | 0 |  |  | 0 |  | FALSE
Oro |  |  | Q | [5 empty] | FALSE
Oro C13 |  |  | I | [5 empty] | FALSE
6-PG |  |  | Q | -0.06443 | 0.002432 | 3.657e-08 | 1 |  | FALSE
6-PG C13 |  |  | I | 3251075 |  |  | 7.93 |  | FALSE
P-Ser |  |  | Q | -0.6213 | 0.01485 | 2.725e-06 | 0.9998 |  | FALSE
P-Ser C13 |  |  | I | 179027 |  |  | 23.83 |  | FALSE
2_3-PG |  |  | Q | -0.04292 | 0.001029 | -1.142e-08 | 0.9999 |  | FALSE
2_3-PG C13 |  |  | I | 4311216 |  |  | 7.07 |  | FALSE
Shi3P |  |  | Q | -0.5352 | 0.02458 | 2.82e-07 | 0.9999 |  | FALSE
Shi3P C13 |  |  | I | 406710 |  |  | 7.83 |  | FALSE
CDP |  |  | Q | -0.1194 | 0.006225 | 4.9e-07 | 0.9999 |  | FALSE
CDP C13 |  |  | I | 2847231 |  |  | 9.93 |  | FALSE
Cit/Isocit |  |  | Q | -0.002226 | 0.0002508 | -1.925e-08 | 0.9989 |  | FALSE
Cit/Isocit C13 |  |  | I | 43754510 |  |  | 12.49 |  | FALSE
UDP-AcGlcN |  |  | Q | -0.01726 | 0.0004252 | 3.623e-08 | 0.9984 |  | FALSE
UDP-AcGlcN C13 |  |  | I | 13620753 |  |  | 14.8 |  | FALSE
PEP |  |  | Q | -0.7375 | 0.009962 | 1.196e-06 | 0.999 |  | FALSE
PEP C13 |  |  | I | 66058 |  |  | 22.16 |  | FALSE
Cis-Aco |  |  | Q | -378500 | 6684 | -0.2716 | 0.9989 |  | FALSE
Cis-aco C13 |  |  | I | 29919 |  |  | 12.52 |  | FALSE
UMP |  |  | Q | 32440 | 34330 | -4.872 | 0.9995 |  | FALSE
UMP C13 |  |  | I | 10139587 |  |  | 17.09 |  | FALSE
UDP-Glc |  |  | Q | -0.01188 | 0.0003982 | 1.241e-07 | 0.9997 |  | FALSE
UDP-Glc C13 |  |  | I | 840250 |  |  | 19.61 |  | FALSE
ADP |  |  | Q | -0.03996 | 0.0009105 | 5.054e-08 | 0.9987 |  | FALSE
ADP C13 |  |  | I | 7154378 |  |  | 13.31 |  | FALSE
FruBP |  |  | Q | -0.002863 | 5.318e-05 | 9.631e-09 | 0.9969 |  | FALSE
FruBP C13 |  |  | I | 21630447 |  |  | 7.56 |  | FALSE
CTP |  | M | Q | -0.06605 | 0.0005078 | 1.804e-07 | 0.9988 |  | FALSE
CTP C13 |  |  | I | 126468 |  |  | 12.19 |  | FALSE
GMP |  |  | Q | -0.4115 | 0.02883 | 6.194e-07 | 0.9995 |  | FALSE
GMP C13 |  |  | I | 505977 |  |  | 9.14 |  | FALSE
GDP-Man |  |  | Q | -0.01628 | 0.0005237 | 1.533e-07 | 0.9997 |  | FALSE
GDP-Man C13 |  |  | I | 981049 |  |  | 20.29 |  | FALSE
cGMP |  |  | Q | -394900 | 19790 | -1.758 | 1 |  | FALSE
cGMP C13 |  |  | I | 0 |  |  | 0 |  | FALSE
PRPP |  |  | Q | N/F |  |  | N/F |  | FALSE
PRPP C13 |  |  | I | 0 |  |  | 0 |  | FALSE
UDP |  |  | Q | -0.2999 | 0.009881 | 1.433e-06 | 0.9974 |  | FALSE
UDP C13 |  |  | I | 172254 |  |  | 23.08 |  | FALSE
ATP |  | M | Q | -0.009072 | 0.0001657 | 1.539e-08 | 0.9979 |  | FALSE
ATP C13 |  |  | I | 397234 |  |  | 10.56 |  | FALSE
UTP |  | M | Q | -0.2568 | 0.002245 | 1.457e-07 | 0.9951 |  | FALSE
UTP C13 |  |  | I | 43050 |  |  | 19.27 |  | FALSE
GDP |  |  | Q | -0.01939 | 0.001725 | 7.511e-07 | 1 |  | FALSE
GDP C13 |  |  | I | 177811 |  |  | 16.63 |  | FALSE
[6 empty] | Average %RSD: | 21.65

## Sheet2
Calibration Report
Lab Name: | Thermo Fisher Laboratory
Instrument: | Thermo Scientific Instrument |  |  | Method: | EFS_demo_Calibrate_EFS_demo
User: | Admin |  |  |  | EFS_demo
Batch: | EFS_demo_Calibrate |  |  | Cali File: | EFS_demo_Calibrate.calx
Calibration Data Points
|  | c5 | c10 | c20 | c50 | c100
| Pentachloroethane | 0.481 | 0.495 | 0.51 | 0.494 | 0.554
| 1,3-Dichlorobenzene | 1.529 | 1.551 | 1.591 | 1.56 | 1.741
| 1,4-Dichlorobenzene-d4 | 13341548 | 15043882 | 14788707 | 14999377 | 13849981
| 1,4-Dichlorobenzene | 1.624 | 1.61 | 1.601 | 1.614 | 1.748
| 1,2-Dichlorobenzene | 1.521 | 1.5 | 1.505 | 1.508 | 1.666
| Hexachloroethane | 0.491 | 0.504 | 0.502 | 0.506 | 0.563
| Nitrobenzene-d5 | 0.253 | 0.267 | 0.261 | 0.277 | 0.268
| 1,2,4-Trichlorobenzene | 0.339 | 0.332 | 0.328 | 0.34 | 0.358
| Naphthalene-d8 | 51733410 | 55923713 | 56879408 | 55474734 | 53294258
| Hexachloropropene | 0.171 | 0.181 | 0.181 | 0.2 | 0.21
| Hexachlorobutadiene | 0.146 | 0.147 | 0.145 | 0.149 | 0.16
| 1,2,4,5-Tetrachlorobenzene | 0.551 | 0.574 | 0.544 | 0.568 | 0.622
| Hexachlorocyclopentadiene | 0.233 | 0.257 | 0.271 | 0.3 | 0.336
| 2-Fluorobiphenyl | 1.257 | 1.32 | 1.264 | 1.37 | 1.354
| 2-Chloronaphthalene | 1.701 | 1.711 | 1.714 | 1.74 | 1.915
| Acenaphthene-d10 | 28865089 | 31181554 | 31003986 | 30384963 | 28415451
| Pentachlorobenzene | 0.427 | 0.424 | 0.408 | 0.426 | 0.456
| Hexachlorobenzene | 0.178 | 0.18 | 0.191 | 0.182 | 0.198
| Phenanthrene-d10 | 55987819 | 59349974 | 56649860 | 56793133 | 52468441
| p-Terphenyl-d14 | 0.88 | 0.911 | 0.923 | 0.991 | 1.002
| Chrysene-d12 | 32624264 | 35937685 | 33932124 | 29553492 | 26508685
| Perylene-d12 | 29532450 | 31490138 | 28930292 | 25153828 | 22417736

## Sheet3
Calibration Report
Lab Name: | Default Laboratory
Instrument: | Thermo Scientific Instrument |  |  | Method: | 20210506_SOKOL_filtres_MC_quant_CM_ARO_QUANT
User: | a_rocher |  |  |  | CM_ARO_QUANT
Batch: | 20210506_SOKOL_filtres_MC_quant |  |  | Cali File: | 20210506_SOKOL_filtres.calx
Vial Pos | Sample ID | File Name | Level | Sample Name | File Date | Comment
|  | 20210426_SMS01_09 | 1_1 |  | 2021-04-26 23:05
|  | 20210426_SMS02_08 | 1_2 |  | 2021-04-26 22:12
|  | 20210426_SMS04_07 | 1_4 |  | 2021-04-26 21:19
|  | 20210426_SMS08_06 | 1_8 |  | 2021-04-26 20:25
|  | 20210426_SMS16_05 | 1_16 |  | 2021-04-26 19:32
|  | 20210426_SMS32_04 | 1_32 |  | 2021-04-26 18:39